| DOCUMENT TITLE | IN-HOUSE CALIBRATION PROCESS OF LABORATORY INSTRUMENT |
| --- | --- |
| PURPOSE | - To be able to maintain the accuracy output data of the laboratory instrument |
| SCOPE | Covers all instruments in the laboratory that require Internal Calibration. |
| RELATED RISK/S | - Availability of the Calibration Instrument - Inaccurate Reading from the Calibration Instrument |
| PROCESS OWNER/S | - Laboratory Management Office (Calibration Unit) |

| PROCESS FLOW/DETAILS |  | RESPONSIBLE PERSON/OFFICE | RECORDS/ EVIDENCES |
| --- | --- | --- | --- |
| CHECK SCHEDULE FROM CALIBRATION PLAN / CHECK CALIBRATION REQUEST FROM CLIENTS | Note 1 | CALIBRATION INCHARGE/ LABORATORY TECHNICIAN | Calibration Master Plan/Service Request Form |
| PERFORM CALIBRATION PROCEDURE | Note 2 | CALIBRATION INCHARGE | Calibration Form |
| RECORD ALL OBSERVATIONS TO THE CALIBRATION FORM | Note 3 | CALIBRATION INCHARGE | Calibration Form |
| A |  |  |  |
| MAKE APPROPRIATE RECOMMENDATIONS ON THE CALIBRATION FORM BASED ON THE CALIBRATION RESULT | Note 4 | CALIBRATION INCHARGE | Calibration Form |
| UPDATE CALIBRATION MASTERPLAN | Note 5 | CALIBRATION INCHARGE | Calibration Plan |
| GENERATE CALIBRATION REPORT | Note 6 | LABORATORY MANAGEMENT OFFICE / CALIBRATION INCHARGE/ LABORATORY TECHNICIAN | Calibration Report |

NOTE 1:

- The Calibration In-Charge check the schedule based on the Calibration Plan.

- Respond Calibration Service request from the clients.

NOTE 2:

- Review Previous readings of the instrument subject for Calibration.

- Evaluate actual reading of the instrument.

- Apply standard calibration & settings of the instrument.

NOTE 3:

- Accomplish the Calibration form.

NOTE 4:

- Make necessary reccomendations if applicable.

NOTE 5:

- Update Calibration Plan based on the action taken.

NOTE 6:

- Generation of periodic report.

RECORDS/EVIDENCES:

- Calibration Plan

- Calibration form

- Service Request form