| DOCUMENT TITLE | PREVENTIVE MAINTENANCE PROCESS |
| --- | --- |
| PURPOSE | To be able to maintain the good working condition of the Laboratory Machines, Equipment and Instruments (MEIs) |
| SCOPE | Covers all MEIs in the laboratories that require Preventive Maintenance. |
| RELATED RISK/S | - Availability of the appropriate tools. - Availability of supply, material, & parts needed to perform the Preventive Maintenance. |
| PROCESS OWNER/S | - Laboratory Management Office (Maintenance Unit) |

| PROCESS FLOW/DETAILS |  | RESPONSIBLE PERSON/OFFICE | RECORDS/ EVIDENCES |
| --- | --- | --- | --- |
| CHECK SCHEDULE FROM PREVENTIVE MAINTENANCE PLAN | Note 1 | MAINTENANCE INCHARGE/ LABORATORY TECHNICIAN | Preventive Maintenance Master Plan |
| PERFORM PREVENTIVE MAINTENANCE PROCEDURE | Note 2 | MAINTENANCE INCHARGE | Preventive Maintenance Form |
| RECORD ALL OBSERVATIONS TO THE PREVENTIVE MAINTENANCE FORM | Note 3 | MAINTENANCE INCHARGE | Preventive Maintenance Form |
| A |  |  |  |
| MAKE APPROPRIATE RECOMMENDATIONS ON THE PREVENTIVE MAINTENANCE FORM BASED ON THE RESULT | Note 4 | MAINTENANCE INCHARGE/ LABORATORY TECHNICIAN | Preventive Maintenance Form |
| UPDATE PREVENTIVE MAINTENANCE MASTERPLAN | Note 5 | MAINTENANCE INCHARGE | Preventive Maintenance Plan |
| GENERATE PREVENTIVE MAINTENANCE REPORT | Note 6 | LABORATORY MANAGEMENT OFFICE / MAINTENANCE INCHARGE / LABORATORY TECHNICIAN | Preventive Maintenance Report |

NOTE 1:

- The Maintenance In-Charge check the schedule based on the Preventive Maintenance Plan.

NOTE 2:

- Evaluate the general Performance of the MEI.

- Test performance based on the specific functionalities.

NOTE 3:

- Accomplish the Preventive Maintenance form.

NOTE 4:

- Make necessary reccomendations if applicable.

NOTE 5:

- Update Preventive Maintenance Plan based on the action taken.

NOTE 6:

- Generation of periodic report.

RECORDS/EVIDENCES:

- Preventive Maintenance Plan

- Preventive Maintenance form