| DOCUMENT TITLE | CORRECTIVE MAINTENANCE PROCESS |
| --- | --- |
| PURPOSE | To be able to restore the good working operational condition of the Laboratory Machines, Equipment and Instruments (MEIs) |
| SCOPE | Covers all MEIs in the laboratories that require Corrective Maintenance. |
| RELATED RISK/S | - Availability of the appropriate tools. - Availability of supply, material, & parts needed to perform the Corrective Maintenance. |
| PROCESS OWNER/S | - Laboratory Management Office (Maintenance Unit) |

| PROCESS FLOW/DETAILS |  | RESPONSIBLE PERSON/OFFICE | RECORDS/ EVIDENCES |
| --- | --- | --- | --- |
| CHECK RESULTS FROM PREVENTIVE MAINTENANCE / CHECK CORRECTIVE MAINTENANCE REQUEST FROMCLIENTS | Note 1 | MAINTENANCE INCHARGE/ LABORATORY TECHNICIAN | Service Request Form/Preventive Maintenance Form |
| PERFORM CORRECTIVE MAINTENANCE PROCEDURE | Note 2 | MAINTENANCE INCHARGE/ LABORATORY TECHNICIAN | Service Request Form / Preventive Maintenance Form / Corrective Maintenance Form |
| RECORD ALL OBSERVATIONS TO THE CORRECTIVE MAINTENANCE FORM | Note 3 | MAINTENANCE INCHARGE/ LABORATORY TECHNICIAN | Corrective Maintenance Form |
| A |  |  |  |
| MAKE APPROPRIATE RECOMMENDATIONS ON THE CORRECTIVE MAINTENANCE FORM BASED ON THE RESULT | Note 4 | MAINTENANCE INCHARGE/ LABORATORY TECHNICIAN | Corrective Maintenance Form |
| UPDATE CORRECTIVE MAINTENANCE RECORD | Note 5 | MAINTENANCE INCHARGE | Corrective Maintenance Record / Preventive Maintenance Plan |
| GENERATE CORRECTIVE MAINTENANCE REPORT | Note 6 | LABORATORY MANAGEMENT OFFICE / MAINTENANCE INCHARGE / LABORATORY TECHNICIAN | Corrective Maintenance Report |

NOTE 1:

- Review results from the Preventive Maintenance Form / Service Request Form.

NOTE 2:

- Apply standard Corrective Maintenance.

- Attempt to fix the problem.

- Test whether the problem is already fixed.

NOTE 3:

- Accomplish the Corrective Maintenance form.

NOTE 4:

- If the problem is not fixed, make further reccomendations appropriate to fix the problem.

NOTE 5:

- Update Corrective Maintenance Record / Preventive Maintenance Plan based on the action taken.

NOTE 6:

- Generation of periodic report.

RECORDS/EVIDENCES:

- Preventive Maintenance form

- Corrective Maintenance form

- Corrective Maintenance record

- Service Request Form