| DOCUMENT TITLE | OUTSOURCE CALIBRATION |
| --- | --- |
| PURPOSE | To be able to maintain the accuracy output data of the laboratory instrument beyond the capacity of the In-House calibration. |
| SCOPE | Covers all instruments in the laboratory that require Outsource Calibration. |
| RELATED RISK/S | - Insufficiency of Funds - Availability of the capable calibration agency of specific Equipment |
| PROCESS OWNER/S | - Laboratory Management Office |

| PROCESS FLOW/DETAILS |  | RESPONSIBLE PERSON/OFFICE | RECORDS/ EVIDENCES |
| --- | --- | --- | --- |
| CHECK SCHEDULE FROM CALIBRATION PLAN / CHECK CALIBRATION REQUEST FROM CLIENTS | Note 1 | LABORATORY TECHNICIAN/CALIBRATION UNIT | Master Plan |
| REQUEST FOR CALIBRATION OUTSOURCE | Note 2 | CALIBRATION UNIT /LMO | Request Letter |
| SEND CALIBRATION REQUEST TO SERVICE PROVIDER | Note 3 | - | Approved Request Letter / P.O / Service Provider Request |
| A |  |  |  |
| PERFORM OUTSOURCE CALIBRATION PROCEDURE | Note 4 | LAB TECHNICIAN/CALIBRATION UNIT/OUTSOURCE CALIBRATOR | Approved Letter/P.O |
| RECEIVED CALIBRATION CERTIFICATES/REPORTS | Note 5 | SERVICE PROVIDER | Calibration Certificate/report |
| UPDATE CALIBRATION MASTERPLAN | Note 6 | LAB TECHNICIAN/CALIBRATION UNIT | Master Plan/ Calibration Certificate/report |
| KEEP & COMPILE CALIBRATION CERTIFICATES/REPORTS | Note 7 | LAB TECHNICIAN/QMS Unit/LMO | Master Plan/ Calibration Certificate/report |

NOTE 1:

- The Calibration In-Charge check the schedule based on the Calibration Plan.

- Respond Calibration Service request from the clients.

- Identify MEIs needed for outsourcing calibration.

NOTE 2:

      - Submission of request for Outsource Calibration

NOTE 3:

- Send Request to Service Provider

NOTE 4:

- The Calibration Unit and the Laboratory Technician in-charge must assist the Service Provider

NOTE 5:

- Received Calibration Certificates/Report from the Service Provider

- Recommendations from the Service Provider

NOTE 6:

      - Update Calibration Plan based on the action taken.

NOTE 7:

1.	Keep & Compile calibration certificates/reports

RECORDS/EVIDENCES:

- Approved Letter (If beyond regular schedule)

- Calibration Certificates/Report

- Master Plan