| DOCUMENT TITLE | OUTSOURCED CORRECTIVE MAINTENANCE |
| --- | --- |
| PURPOSE | To be able to restore the good working operational condition of the Laboratory Machines, Equipment and Instruments (MEIs) with the help of an outsourced service provider. |
| SCOPE | Covers all MEIs in the laboratories that require Corrective Maintenance by an outsourced service provider. |
| RELATED RISK/S | - Insufficiency of Funds - Availability of the service provider |
| PROCESS OWNER/S | - Laboratory Management Office |

| PROCESS FLOW/DETAILS |  | RESPONSIBLE PERSON/OFFICE | RECORDS/ EVIDENCES |
| --- | --- | --- | --- |
| CHECK SCHEDULE FROM MAINTENANCE PLAN / CHECK SERVICE REQUEST FROM CLIENTS | Note 1 | LABORATORY TECHNICIAN/MAINTENANCE UNIT | Master Plan /Service Request |
| REQUEST FOR OUTSOURCE CORRECTIVE MAINTENANCE | Note 2 | MAINTENANCE UNIT /LMO | Request Letter |
| SEND CORRECTIVE MAINTENANCE REQUEST TO SERVICE PROVIDER | Note 3 | - MAINTENANCE UNIT /LMO/SERVICE PROVIDER | Approved Request Letter / P.O / Service Provider Request |
| A |  |  |  |
| PERFORM OUTSOURCE CORRECTIVE MAINTENANCE PROCEDURE | Note 4 | LAB TECHNICIAN/ MAINTENANCE UNIT / SERVICE PROVIDER | Approved Letter/P.O |
| RECEIVE MAINTENANCE REPORTS FROM SERVICE PROVIDER | Note 5 | SERVICE PROVIDER | Maintenance Report |
| UPDATE MAINTENANCE MASTERPLAN | Note 6 | LAB TECHNICIAN/CORRECTIVE MAINTENANCE UNIT | Master Plan |

NOTE 1:

- The Maintenance In-Charge check the schedule based on the Maintenance Plan.

- Respond Corrective Maintenance Service request from the clients.

- Identify MEIs needed for outsourcing Corrective Maintenance.

NOTE 2:

      - Submission of request for Outsource Corrective Maintenance

NOTE 3:

- Send Request to Service Provider

NOTE 4:

- The Corrective Maintenance Unit and the Laboratory Technician in-charge must assist the Service Provider

NOTE 5:

- Received Corrective Maintenance Report from the Service Provider

NOTE 6:

      - Update Maintenance Plan based on the action taken.

RECORDS/EVIDENCES:

- Approved Letter (If beyond regular schedule)

- Corrective Maintenance Report

- Master Plan